## 合同价格清单
合同价格清单
立项编号： 计划编号： 单位：人民币
No. | Equipment name, KKS code, type, parameter and assembly drawing № of the equipment where the spare parts is to be located | Name of Spare Parts | Name of Spare Parts | Code | Spare Part Specification,Type (drawing №,standard №,parameter, etc) | Material,Mark and Standard of Material | Spare Parts Assembly Drawing № | Position No. of the Spare Part in the Assembly Drawing. | Unit | Quantity | Unit weight (kg) | Total weight (kg) | Safety Class | Quality Assurance Category | Storage Conditions,Preservation requirement | the days' supply | Unit Price | Total Price | Manufacture Plant or Supplier | Remarks | Delivery Lot | Arrival Date
序号 | 主设备名称、KKS编码、型号、参数、组装图号 | 物项名称 | 物项英文名称 | 物项编码 | 物项规格/型号 (图号、技术条件或标准号、主要参数等) | 材质/牌号/材料标准号 | 部件装配图号 | 装配图中零件位置 | 单位 | 订货数量 | 单重 | 总重 | 安全级别 | 质保等级 | 储存条件/保养要求 | 供货周期（天） | 单价 | 总价 | 制造厂或供应商 | 备注 | 到货批次 | 合同要求到货时间
1 |  | 液体自动取样机吸水管 |  | 1AXA0012 | 60-9004-379┇3/8 inch ID x 25 ft. long vinyl suction line with standard weighted polypropylene strainer. Includes tubing coupler./ | / |  |  | 套 | 1 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
2 |  | 液体自动取样机不锈钢连接器 |  | 1AXA0013 | 60-3709-002┇Tubing coupler, 3/8 inch. One-piece, clampless coupler made of stainless steel. Can be used with any Isco sampler./ | / |  |  | 套 | 2 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
3 |  | 液体自动取样机分配臂 |  | 1AXA0014 | 60-9004-050┇Sampler distributor arm/ | / |  |  | 套 | 2 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
4 |  | 液体自动取样机底座 |  | 1AXA0015 | 60-9004-052┇6700 Series Full-size Portable Sampler Standard Base/ | / |  |  | 套 | 2 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
5 |  | 自动液体取样机中段 |  | 1AXA0016 | 60-9004-246┇6700 Series Full-size Portable Sampler Center Section/ | / |  |  | 套 | 2 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
6 |  | 液体自动取样机顶盖 |  | 1AXA0017 | 60-9004-247┇6700 Series Full-size Portable Sampler Top Cover/ | / |  |  | 套 | 2 |  |  | NC | QNC |  |  |  |  | ISCO |  |  | 2022-09-17
7 |  | 流量变送器 |  | 1CFE0139 | OPTIFLUX2000F/IFC300F┇/DN80,IP67,Tmax:60℃,Pmax:40bar,9~90m3/h,准确度等级:0.3级,电流输出:4~20mA | / |  |  | 个 | 1 |  |  | NC | QNC |  |  |  |  | KROHNE |  |  | 2022-09-17
8 |  | 超声波流量变送器 |  | 1CFU0031 | SONO3000┇/220VAC供电，4-20mA输出，0-300t/h | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
9 |  | 超声波流量传感器 |  | 1CFU0032 | SONO3300┇/DN250，PN16，含法兰 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
10 |  | 超声波流量变送器 |  | 1CFU0033 | SONO3000┇/220VAC供电，4-20mA输出，0-10t/h，IP67 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
11 |  | 超声波流量传感器 |  | 1CFU0034 | SONO3300┇/DN50，PN40，含法兰 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
12 |  | 超声波流量传感器 |  | 1CFU0035 | SONO3300┇/DN80，PN16，含法兰 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
13 |  | 超声波流量变送器 |  | 1CFU0036 | SONO3000┇/220VAC供电，4-20mA输出，0-20t/h，IP67 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 丹佛斯公司 |  |  | 2022-09-17
14 |  | 压力变送器 |  | 1CPT0331 | 3051TG3A2B21AB4K5M5TK┇/0~4MPa,0.25级,IP65 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 北京远东罗斯蒙特仪表有限公司 |  |  | 2022-09-17
15 |  | 压力变送器 |  | 1CPT0733 | DE-76181karisruhe┇/0.16bar~16bar,0.5级 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
16 |  | 压力开关 |  | 1CPW0032 | B724S┇/0~0.4MPa,动值0.15MPa,1.5级 | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | ASHCROFT |  |  | 2022-09-17
17 |  | 压力开关 |  | 1CPW0137 | B724S┇/0~1.4MPa,动作值1.1MPa,1.5级 | / |  |  | 个 | 1 |  |  | NC | NC |  |  |  |  | ASHCROFT |  |  | 2022-09-17
18 |  | 压力开关 |  | 1CPW0138 | B724S┇/0~0.4MPa,动值0.2MPa,1.5级 | / |  |  | 个 | 1 |  |  | NC | NC |  |  |  |  | ASHCROFT |  |  | 2022-09-17
19 |  | 风管式温度传感器 | . | 1CTR0151 | TE-6311M-1.Ni1000;40~104℃.插入长度：8英寸.带安装连接附件┇/ | / |  |  | 个 | 2 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
20 |  | 水管式温度传感器 | . | 1CTR0152 | TE-631AM-1/WZ-1000-5.Ni1000;40~104℃.插入长度：6英寸.带安装连接附件┇/NI1000 -40~104℃ 插入长度：6英寸 带安装连接附件 | / |  |  | 个 | 2 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
21 |  | 按键显示模块 | Keyboard ang display module | 1DBD0139 | S7800A1001┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | HONEYWELL |  |  | 2022-09-17
22 |  | 开关量输出模块 | . | 1DDH0043 | 140DRC83000┇/ | / |  |  | 块 | 1 |  |  | NS | NC | A/ |  |  |  | / | 参考厂家MODICON |  | 2022-09-17
23 |  | 电源 | . | 1DDH0045 | 140CPS11420 115/230VAC 可累加 8A┇/ | / |  |  | 个 | 2 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
24 |  | 40点模块接线端子 | . | 1DDH0051 | 140XTS00200┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
25 |  | CPU模块 | . | 1DDH0052 | 140CPU11302 256K 8K用户逻辑 10寄存器 IBM和IBM+┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
26 |  | 开关量输入模件 | . | 1DDH0057 | 140DDI84100┇/开关量DC输入;16点;10-60VDC;8组隔离 | / |  |  | 块 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
27 |  | RIO模块 | . | 1DDH0059 | 140CRP93100 RIO处理器接口 S908 head 单电缆┇/ | / |  |  | 块 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
28 |  | AI模块 | . | 1DDH0060 | 140ACI04000 模拟量输入 16通道 高密度┇/ | / |  |  | 块 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
29 |  | CPU模块 | . | 1DDH0063 | 140CPU43412A CPU486 2M用户逻辑 2MB 1MB+┇/ | / |  |  | 块 | 1 |  |  | NS | NC | A/ |  |  |  | / |  |  | 2022-09-17
30 |  | 扩展通讯模块 | . | 1DDH0083 | XT-9100-8304┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
31 |  | 扩展模块 | . | 1DDH0084 | XP-9104-8304（4DI/4DO）┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
32 |  | 扩展模块 | . | 1DDH0085 | XP-9102-8304┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
33 |  | 扩展模块 | . | 1DDH0086 | XP-9103-8304（8DO）┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
34 |  | 扩展模块 | . | 1DDH0087 | XP-9105-8304（8DI）┇/ | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | JOHNSON |  |  | 2022-09-17
35 |  | RTD输入模块 |  | 1DDH0108 | 140ARI03010,8通道,类型NI或PT,100,200,500,1000┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | / | 参考厂家MODICON |  | 2022-09-17
36 |  | 模拟量输入模件 |  | 1DDH0157 | 140AVI03000┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 施奈德 |  |  | 2022-09-17
37 |  | 离散量输入模块 |  | 1DDH0158 | 140DAI74000┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 施奈德 |  |  | 2022-09-17
38 |  | 数字量输出模块 |  | 1DDH0159 | 140DDO84300┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 施奈德 |  |  | 2022-09-17
39 |  | 比例调节仪 |  | 1DDH0184 | RWF55.50A9┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | 西门子 |  |  | 2022-09-17
40 |  | PLC模块 |  | 1DDH0214 | S7-200CN,216-2BD23-0XB8┇/ | / |  |  | 个 | 2 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
41 |  | 模块 |  | 1DDH0601 | S7-200,231-0HC21-0XA0┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
42 |  | 模块 |  | 1DDH0602 | S7-200,223-1HF20-0XA0┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
43 |  | PLC模块 |  | 1DDH0603 | S7-200,CPU224,214-1BD21-0XB0┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
44 |  | 16槽底板 |  | 1DDH0605 | 140XBP01600┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 施耐德 |  |  | 2022-09-17
45 |  | 人机界面 |  | 1DDH0606 | LR244507┇/24VAC/16VA,50/60Hz | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | AtlasCopco |  |  | 2022-09-17
46 |  | 电源模块 |  | 1DDH0609 | 6EP1334-2AA00┇/输出:24VDC,10A | / |  |  | 个 | 2 |  |  | NS | NC |  |  |  |  | SIEMENS |  |  | 2022-09-17
47 |  | Twido模拟量模块 |  | 1DDN0137 | TM2AMI2HT┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | 施奈德 |  |  | 2022-09-17
48 |  | 网络适配器 | . | 1DEW0035 | 140NOM25200 MB+适配器 光纤头/中继器 1通道┇/MB+适配器 光纤头/中继器 1通道 | / |  |  | 个 | 1 |  |  | NS | NC | A/ |  |  |  | MODICON |  |  | 2022-09-17
49 |  | 直流电压隔离器 |  | 1DHC0180 | WBV332U01┇/24VDC，输入0~110VDC，输出0~10VDC | / |  |  | 个 | 4 |  |  | NS | QNC |  |  |  |  | 维博 |  |  | 2022-09-17
50 |  | 火焰放大器 |  | 1GJE0464 | R7849A1015┇/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | HONEYWELL |  |  | 2022-09-17
51 |  | 继电器 |  | 1GKA0384 | RU4S-D24┇/24VDC | / |  |  | 个 | 3 |  |  | NC | QNC | B/ |  |  |  | / | 参考厂家IDEC |  | 2022-09-17
52 |  | 继电器 |  | 1GKL0034 | RXM2AB2BD┇/ | // |  |  | 个 | 3 |  |  | NC | QNC |  |  |  |  | 施耐德 |  |  | 2022-09-17
53 |  | 继电器 |  | 1GKU0079 | MY2NJ 24VDC┇/ | / |  |  | 个 | 3 |  |  | NC | QNC |  |  |  |  | 欧姆龙 |  |  | 2022-09-17
54 |  | 直流变送器 |  | 1GWA0230 | YDL-DV┇/DC24V,输入输出:0-10VDC | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | / | 参考厂家YADA |  | 2022-09-17
55 |  | 汽轮机轴位移仪表变送器 |  | 1CGP0054 | TWW201┇/ | / |  |  | 个 | 2 |  |  | NS | QNC |  |  |  |  | Vibro-meter（韦伯） |  |  | 2022-09-17
56 |  | 投入式液位计 | Depth and level sensor | 1CLX0001 | 1830系列，电缆长度15米，测量范围0～12米┇/ | / |  |  | 套 | 1 |  |  | NS | QNC |  |  |  |  | GE DRUCK |  |  | 2022-09-17
57 |  | 差压变送器DP transducer | DP transducer | 1CPT0048 | 7MF4433-1EA02-1AB1-Z┇/B11 C11 H03 Y16 Y99 | / | KEY:TPMBC |  | 套 | 1 |  |  | NS | NC | A/ |  |  |  | SIEMENS |  |  | 2022-09-17
58 |  | 汽轮机轴向位移探头 |  | 1CYE0021 | WW009┇/ | / |  |  | 个 | 2 |  |  |  | NC |  |  |  |  | Vibro-meter(韦伯） |  |  | 2022-09-17
59 |  | 汽轮机轴振仪表前置器 |  | 1CYV0035 | tsw101 ,IP65,动态量程：0~5mm┇/ | / |  |  | 个 | 4 |  |  | NS | QNC |  |  |  |  | Vibro-meter（韦伯） |  |  | 2022-09-17
60 |  | 汽轮机轴振仪表探头 |  | 1CYV0036 | WW007，L=150mm┇/螺纹：M10×1.0,带中间转接头，带耐油凯装线长1m | / |  |  | 个 | 4 |  |  | NS | NC |  |  |  |  | Vibro-meter（韦伯） |  |  | 2022-09-17
61 |  | 振动监测仪表 |  | 1CYV0038 | CE110+EC318(10米）,100mV/g,2HZ-10HZ,+2.5%┇/ | / |  |  | 套 | 1 |  |  | NS | QNC |  |  |  |  | Vibro-meter（韦伯） |  |  | 2022-09-17
62 |  | S7 小型内存卡片 | S7 MICRO MEMORY CARD, 4 MBYTE | 1DDA0419 | ┇6ES7953-8LM20-0AA0/ | / |  |  | 个 | 2 |  |  | NS | NC |  |  |  |  | Siemens |  |  | 2022-09-17
63 |  | 同步模块 | Synch module | 1DDA0420 | ┇6ES7960-1AA06-0XA0/ | / |  |  | 个 | 2 |  |  | NS | NC |  |  |  |  | Siemens |  |  | 2022-09-17
64 |  | 通讯模块CP443-1 |  | 1DDN0190 | 6GK7 443-1EX30-0XE0┇/ | / |  |  | 个 | 2 |  |  | NS | NC |  |  |  |  | 西门子 |  |  | 2022-09-17
65 |  | 保险管2A | Circuit-breaker 2A | 1DHC1512 | ┇ETA 3600-P10-SI-2A/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | / | 参考厂家E-T-A |  | 2022-09-17
66 |  | AddFEM冗余光纤电缆 | fiber optic cabel for AddFEM redundancy | 1DKC0049 | ┇6DL9901-8AA ;1,6 meter/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | Siemens |  |  | 2022-09-17
67 |  | 断路器 |  | 1GQF3314 | 5SX5102-7┇/1P,2A | / |  |  | 台 | 2 |  |  | NS | QNC |  |  |  |  | Siemens |  |  | 2022-09-17
68 |  | Coreflex S系列PTFE软管 | Coreflex S series PTFE tube | 1CQH0089 | 订货号：SS-ST4 TA4 PM4-150CM-PK┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | Swagelok |  |  | 2022-09-17
69 |  | 氨气浓度二次表 |  | 1CQA0019 | ┇ChemGard-NH3/ | / |  |  | 个 | 1 |  |  | NS | NC |  |  |  |  | MSA |  |  | 2022-09-17
70 |  | 氢气泄漏检测仪数字控制单元 |  | 1CQD0024 | 07866DC2-0-2-000-1-005000┇/07866DC2-0-2-000-1-005000-0-0-000 | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | HONEYWELL |  |  | 2022-09-17
71 |  | 手持式校验器 |  | 1CQD0096 | 订货号：SS748┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | / | 参考厂家STATUS SCIENTIFIC |  | 2022-09-17
72 |  | 密度检测装置 |  | 1CQK0017 | DPRn427┇/ | / | MDBAB |  | 个 | 1 |  |  | SR | QA3 |  |  |  |  | Anton Paar |  |  | 2022-09-17
73 |  | pH电极维修工具包 | maintenance kit for pH electrode | 1CQK0087 | 6.2325.000┇/ | / |  |  | 套 | 1 |  |  | NC | QA1 |  |  |  |  | / | 参考厂家metrohm |  | 2022-09-17
74 |  | 泵壳 |  | 1CQK0130 | V0W7300003┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | 瑞士万通 |  |  | 2022-09-17
75 |  | 电导检测器 |  | 1CQL0052 | PROD,D5,CELL,COND,+DS3,CD/ED┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | Thermo Fisher Scientific |  |  | 2022-09-17
76 |  | 电导率二次表 |  | 1CQN0005 | CLM253-CD0005┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | E+H |  |  | 2022-09-17
77 |  | 电导率电极 |  | 1CQN0018 | CLS12-B1D1A┇/ | / |  |  | 个 | 2 |  |  | NS | QNC |  |  |  |  | E+H |  |  | 2022-09-17
78 |  | 二次表电源装置 |  | 1CQT0006 | 51500317┇/ | / |  |  | 个 | 1 |  |  | NS | QNC |  |  |  |  | E+H |  |  | 2022-09-17
79 |  | 转换继电器模块 |  | 1DDN0071 | PLC-BSC-12DC;输入12VDC┇/ | /订货号：29 67 251 |  |  | 套 | 2 |  |  | NS | QNC |  |  |  |  | 南京菲尼克斯 |  |  | 2022-09-17
合计(含13%增值税)：